| Site and location |  |  |  | Inspected by |  | Date |
| --- | --- | --- | --- | --- | --- | --- |
| Area or run inspected |  |  |  |  |  |  |

Tick OK, or grade the damage. Green: within limits, monitor. Amber: do not reload once emptied, repair within four weeks. Red: offload and isolate at once.

| Check | OK | Green | Amber | Red | Bay and notes |
| --- | --- | --- | --- | --- | --- |
| Uprights: no dents, bends or splits |  |  |  |  |  |
| Bracing: straight, all bolts present |  |  |  |  |  |
| Uprights: plumb in both directions |  |  |  |  |  |
| Base plates and fixings: tight, sound |  |  |  |  |  |
| Beams: straight, connectors undamaged |  |  |  |  |  |
| Beam locks: fitted at both ends |  |  |  |  |  |
| Guards and barriers: in place, sound |  |  |  |  |  |
| Load notices: displayed and correct |  |  |  |  |  |
| Loads: within capacity, evenly spread |  |  |  |  |  |
| Pallets: sound, no overhang |  |  |  |  |  |
| Aisles and gangways: clear |  |  |  |  |  |
| Decking and accessories: secure |  |  |  |  |  |

| Action required |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Reported to |  |  |  | Signature |  | Next check due |

This checklist supports a regular visual check. It does not replace an expert inspection, which should be carried out at least every 12 months.